6

R e c o v e r e d ] ( u M

)

[S-nitrosothiol

Recovered] (uM)

1 0	1 h o u r

1 h o u r

5

1 . 5

1 d a y

1 w e e k	4

1 d a y

1 w e e k

1 m o n t h

1 m o n t h

1  . 0

[ N i t r i t e

0  . 5

3    m   o  n  t h s

2

6    m   o  n  t h s

3    m   o  n  t h s

6    m   o  n  t h s

0 . 0

0  . 2 5	0 . 5	1	1 0

[ N i t r i t e s p i k e d ] ( u M )

0

0.25

0.5

1.0

5.0

[S-nitrosothiol spiked] (uM)

Whole blood was spiked with either sodium nitrite (left) or CysNO (right) at varying concentrations. Blood was stabilized in respective stabilization solution and flash frozen. After 1 hour, 1 day, 1 week, 1 month, 3 months, or 6 months, the solution was thawed and nitrite concentration measured by reductive chemiluminescence in tri-iodide solution. Acid Sulfanilamide and mercuric chloride were utilized to measure S-nitrosthiol concentration. Recovery of each species at every time point was >99%. N=3 samples at each time point Data are Mean ± SEM.